## Fly-Bill 9
BILL NO. 9
OFFICES

## Bill 9
Item | Description | Qty | Unit | Rate | Amount
|  |  |  | AED | AED
OFFICES
Generally
The work to be done under this bill form part of the Works and shall be completed within the applicable Time for Completion.
The scope of Works within this bill is for design and build of partitioning, flooring, internal finishes, doors, fixed in place fittings, MEP, etc to the offices in accordance with the Employers Requirements.
Loose furniture, loose equipments and OS&E are excluded from theWorks (by others).
As per Clause 17.1 of Rates and Measurement Clause (Preambles) the Contractor is required to provide the Employer with a fully detailed Bill fo Quantities for the scope of works as defined in the Employers Requirements once the detailed design has been approved.
A | Substructure |  | sum |  | N/A
B | Superstructure |  | sum
METAL WORKS
B.01 | Secondary Steel Supports to suspension systems | 1 | item |  | Refer to Bill No. 6 - P/SUM
WATERPROOFING
B.02 | Supply and application of liquid water proofing to Walls in ablution, male and female toilets: height up to 1M | 56 | m2 |  | Refer to Bill No. 6 - P/SUM
B.03 | Supply and application of liquid water proofing to Floor in ablution, male and female toilets | 47 | m2 |  | Refer to Bill No. 6 - P/SUM
C | External Walls |  | sum |  | N/A
| To Collection |  |  |  | 0
OFFICES (Cont'd)
D | Internal Walls and Doors
DEMOLITION
D.01 | Demolition of existing blockwall | 211 | m² |  | Refer to Bill No. 6 - P/SUM
MASONRY
Height upto 7m
Hollow concrete block wall; bedded and jointed in cement and sand mortar; including damp proof courses, insulation, fire rating, mesh, grouts, lintels, posts, reinforcement, fixings, anchors, ties, accessories, plaster (measured separately) and all ancillary works as necessary
D.02 | 200mm thick | 266 | m² |  | Refer to Bill No. 6 - P/SUM
GYPSUM PARTITION & DRYLINING
INTERNAL PARTITIONING - Height upto 3.1M only
D.03 | Supply and Installation of 12.5mm thick gypsum board partition using all necessary required material including standard rockwool and taping & jointing. | 193 | m² |  | Refer to Bill No. 6 - P/SUM
D.04 | Supply and Installation of 12.5mm thick MR Gypsum board partition using all necessary required material including standard rockwool and taping & jointing. | 255 | m² |  | Refer to Bill No. 6 - P/SUM
D.05 | Supply and Installation of 12.5mm thick gypsum board Lining on external wall using all necessary required material including and taping & jointing. | 331 | m² |  | Refer to Bill No. 6 - P/SUM
TIMBER DOORS
D.06 | Fabrication supply and installation of timber doors in paint finish including ironmongery (Hinges, mortice, cylinder door clousures, lever handle and floor mounted door stopper Size of Door 2100mm (H) X 1100mm (W) | 11 | no |  | Refer to Bill No. 6 - P/SUM
D.07 | Hallway Entrance Door 2100 x 1100mm | 1 | no |  | Refer to Bill No. 6 - P/SUM
| To Collection |  |  |  | 0
OFFICES (Cont'd)
GLASS PARTITIONS AND DOORS
D.08 | Double swing door -1800x2000mm with framed partition at Main Entrance | 1 | no |  | Refer to Bill No. 6 - P/SUM
D.09 | Supply and installation of single glass frameless glass partitions with 12mm tempered normal clear glass height of 3000 mm glass joint with silicon aluminum profile in block powder coated finish. | 98 | m² |  | Refer to Bill No. 6 - P/SUM
D.10 | Additional support framing from partition to sofit slab | 1 | Item |  | Refer to Bill No. 6 - P/SUM
D.11 | Swing Glass Door - Supply and Installation of 12mm thick Toughened Clear Float Glass with side Polished Framed Glazed Single Leaf Swing Door. Size 900mm x 3000mm | 6 | no |  | Refer to Bill No. 6 - P/SUM
D.12 | Swing Glass Door - Supply and Installation of 12mm thick Toughened Clear Float Glass with side Polished Framed Glazed Single Leaf Swing Door. Size 1700mm x 3000mm | 1 | no |  | Refer to Bill No. 6 - P/SUM
D.13 | Supply and instalaltion of Ironmongeries for all glass doors Brand - DORMA. | 7 | no |  | Refer to Bill No. 6 - P/SUM
D.14 | Sliding Glass Door - Supply and Installation of 12mm thick Toughened Clear Float Glass with side Polished Framed Glazed Single Leaf Sliding Door. Size 1000mm x 3000mm | 1 | no |  | Refer to Bill No. 6 - P/SUM
D.15 | Decorative Screen Partitions | 6.6 | m² |  | Refer to Bill No. 6 - P/SUM
D.16 | Frosted Sticker - Design as per Nakheel Mall office | 1 | Item |  | Refer to Bill No. 6 - P/SUM
METAL DOORS
D.17 | Single swing door 900mmx2000mm | 1 | no |  | Refer to Bill No. 6 - P/SUM
| To Collection |  |  |  | 0
OFFICES (Cont'd)
E | Internal Finishes |  |  |  | See below.
FLOOR FINISHES
E.01 | Supply and apply cement, sand screed complete as per drawing | 504 | m² |  | Refer to Bill No. 6 - P/SUM
E.02 | Supply and installation of carpet tile to office area, meeting rooms, Managers offices, etc (square tiles) - PC rate AED 60/m2 - Floors Carpet (Inc Self Leveling) | 338 | m² |  | Refer to Bill No. 6 - P/SUM
E.03 | Supply and Installation of anti slip Floor tiles to Reception lobby, wet areas (pantry, male and female toilets: Tile PC rate AED 50/m2 | 134 | m² |  | Refer to Bill No. 6 - P/SUM
E.04 | Metal Trims / Termination Profile | 10 | m |  | Refer to Bill No. 6 - P/SUM
WALL FINISHES
Paint Finishes
E.05 | Supply and Application of Fenomastic painting to all walls | 1255 | m² |  | Refer to Bill No. 6 - P/SUM
E.06 | Supply and installation of paint finish 100mm high wooden skirting to walls on carpet floor area | 253 | m |  | Refer to Bill No. 6 - P/SUM
Tile Finishes
E.07 | Supply and installation of wall tiles in male and female washrooms and Pantry. (Tile considered 2.6m Height in Toilet & 2.1m at Pantry cabinet areas ) Tile PC rate AED 50/m2 | 82 | m² |  | Refer to Bill No. 6 - P/SUM
E.08 | Supply and installation of 100mm high ceramic tile skirting in wet areas (PC rate AED 15/ LM) | 152 | m |  | Refer to Bill No. 6 - P/SUM
| To Collection |  |  |  | 0
OFFICES (Cont'd)
CEILING FINISHES
Suspended Ceiling and Bulkheads
E.09 | Supply and fixing of 12.5mm Gypsum ceiling including all required accessories | 178 | m² |  | Refer to Bill No. 6 - P/SUM
E.10 | Gypsum Bulkheads | 143 | m |  | Refer to Bill No. 6 - P/SUM
E.11 | Gypsum Cove light | 143 | m |  | Refer to Bill No. 6 - P/SUM
E.12 | Access panel 600mmX600mm | 25 | no |  | Refer to Bill No. 6 - P/SUM
E.13 | Perforated grid Ceiling 600mm x 600mm | 22 | m² |  | Refer to Bill No. 6 - P/SUM
E.14 | Supply and fixing of 12.5mm Gypsum flat ceiling for all the remaining areas | 264 | m² |  | Refer to Bill No. 6 - P/SUM
E.15 | Access panel 600mmX600mm | 15 | no |  | Refer to Bill No. 6 - P/SUM
E.16 | Supply and fixing of 12.5mm MR Gypsum ceiling including all required accessories. | 25 | m² |  | Refer to Bill No. 6 - P/SUM
E.17 | Gypsum Bulkheads | 27 | m |  | Refer to Bill No. 6 - P/SUM
E.18 | Access panel 600mmX600mm | 4 | no |  | Refer to Bill No. 6 - P/SUM
Painting
E.19 | Supply and Application of Fenomastic painting to Gypsum ceiling , Bulkheads & Cove lights | 585 | m² |  | Refer to Bill No. 6 - P/SUM
MISCELLANEOUS
E.20 | Metal trims above the Skirtings | 152 | m |  | Refer to Bill No. 6 - P/SUM
| To Collection |  |  |  | 0
OFFICES (Cont'd)
F | Fixed Furniture and Fixed Equipment |  |  |  | See below.
RECEPTION COUNTER
F.01 | Fabrication supply and Installation of reception counter cladded with Marble, Size 3100mm (L) x 500mm (W) 1200mm (H) Including 1 Nreception Chair | 1 | no |  | Refer to Bill No. 6 - P/SUM
BASE AND WALL UNITS
F.02 | Fabrication supply and installation of U shape Pantry bottom vanity counter & upper cabinet with provision for necessary storage in white melamine including installation of solid surface on top of vanity counter, necessary ironmongery Size of Pantry Cabinet 7220mm (L) 850mm (H) 650mm (W) Size of Upper cabinet 7220mm (L) 750mm (H) 650mm (W) | 1 | no |  | Refer to Bill No. 6 - P/SUM
VANITY COUNTER MALE / FEMALE TOILET
F.03 | Fabrication supply and installation of Vanity counters to wash area in male toilet using MR, MDF with application of white laminate Size of Vanity 2100mm (L) 850mm (H) 600mm (W) | 2 | no |  | Refer to Bill No. 6 - P/SUM
TOILET CUBICLES
F.04 | Toilet Cubicles - 2200Ht 12mm Thickness | 4 | no |  | Refer to Bill No. 6 - P/SUM
MIRRORS
F.05 | Mirror 1000mm x 1000mm | 2 | no |  | Refer to Bill No. 6 - P/SUM
SIGNAGES
F.06 | Nakheel Log & other Signages | 1 | item |  | Refer to Bill No. 6 - P/SUM
| To Collection |  |  |  | 0
OFFICES (Cont'd)
G | MEP
G.01 | HVAC | 1 | item |  | Refer to Bill No. 6 - P/SUM
G.02 | Electrical | 1 | item |  | Refer to Bill No. 6 - P/SUM
G.03 | Plumbing, Drainage and Fire Protection | 1 | item |  | Refer to Bill No. 6 - P/SUM
| To Collection |  |  |  | 0
OFFICES (Cont'd)
H | OTHERS
H.01 | Design Fees and Supervision | 1 | item |  | 0
Refer to Bill No. 6 - P/SUM
H.02 | Builder's Work | 1 | sum |  | Refer to Bill No. 6 - P/SUM
| To Collection |  |  |  | 0
COLLECTION
| Page 9/OFFICES/1 |  |  |  | 0
| Page 9/OFFICES/2 |  |  |  | 0
| Page 9/OFFICES/3 |  |  |  | 0
| Page 9/OFFICES/4 |  |  |  | 0
| Page 9/OFFICES/5 |  |  |  | 0
| Page 9/OFFICES/6 |  |  |  | 0
| Page 9/OFFICES/7 |  |  |  | 0
| Page 9/OFFICES/8 |  |  |  | 0
| TOTAL FOR BILL NO. 9 - OFFICES Carried to Summary |  |  |  | 0

## Bill 9-Sum
Item | Description | Page Nr. | Amount AED
SUMMARY
| OFFICES |  | 0
TOTAL FOR BILL NO. 9 - OFFICES
| TO MAIN SUMMARY | AED | 0